## Slide 1
Control Room Management
PHMSA’s CRM Initiative
Inspection Analytics
April 2021
Byron Coy PE
Sr. Technical Advisor
USDOT / PHMSA

## Slide 2
Control Room Initiative Objective
Conduct Full Control Room Management Inspections at all Control Rooms under PHMSA Jurisdiction
Broaden internal CRM knowledgebase
Promote good cyber-hygiene to Operators

## Slide 3
Pre-2020 Preliminary estimate of Control Rooms | 225
Pre-2020 Control Rooms without full CRM Inspections | ~ 55-120
2020 Estimate of Control Rooms | 255-320
2021 Current Estimate of Control Rooms | 280-345
PHMSA-Jurisdicted Control Rooms
Currently no direct reporting requirement for Control Rooms

## Slide 4
6
2
54
5
5
2
2
2
2
2
2
5
2
2
2
4
2
2
4
4
3
4
2
3
3
2
2
4
5
2
2
3
8
2
2
4
5
3
3
5
1
2 – 4
5 – 9
10 – 20
>50
Num. of CR
Alberta
Ontario
PHMSA-Jurisdicted Control Rooms

## Slide 5
Identified Control Room Locations – Federal Jurisdiction
States with highest number of identified control rooms
Number varies over time
  New CRs Identified
  Jurisdiction changes as pipeline segments are added/removed from CRs
  Acquisitions / Divestitures
  CRs move or consolidate locations
State / Province | Control Rooms Federal Jurisdiction
Texas | 76
Oklahoma | 16
California | 16
Louisiana | 14
Alaska | 10
Wyoming | 9
North Dakota | 8
Kansas | 8
Alberta, Canada | 6
Colorado | 6
Utah | 6

## Slide 6
PHMSA CRM Full Inspections
Chart: Number of CRM Full Inspections
| 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
 | 61 | 51 | 51 | 16 | 24 | 7 | 8 | 2 | 62 | 60
Certain Aspects of Control Rooms are addressed in other types of Inspections

## Slide 7
2020 Inspection Plan
Mix new with seasoned Inspectors
Inspect mid-size Operators in 1H2020
Inspect larger Operators in 2H2020
Inspect smaller Operators across the year
For TSA : Raise cyber-hygiene awareness

## Slide 8
Chart: Number of Inspections
| 43831 | 44196
Original Goal | 0 | 75
Adjusted Goal | 0 | 67.5
Scheduled | 1 | 2 | 3 | 6 | 7 | 8 | 10 | 11 | 12 | 16 | 18 | 19 | 21 | 22 | 24 | 26 | 28 | 30 | 32 | 34 | 37 | 38 | 40 | 41 | 42 | 44 | 45 | 48 | 49 | 51 | 54 | 57 | 59 | 61 | 62
Completed | 1 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 17 | 18 | 19 | 20 | 21 | 23 | 24 | 25 | 27 | 30 | 31 | 32 | 33 | 34 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56
2020 CRM Inspection Program

## Slide 9
CY-2020 | Onsite Inspections | Virtual Inspections | Totals
Jan - Mar | 6 | 2 | 8
Apr - Sep | 0 | 37 | 37
Oct - Dec | 1 | 15 | 16
 | ------- | ------- | -------
2020 Total | 7 | 54 | 61
2020 CRM Inspection Program –
Mostly “Virtual” Inspections

## Slide 10
4
3
4
3
3
2
4
2
2
1
2 – 4
5 – 9
10 – 20
Num. of CRs Inspected
Alberta
2020 CRM Inspections

## Slide 11
2020 Inspection Results
Overall results show approximately
9% Unsats and 10% Concerns
Wide Variation in Operator Performance
  Ranging from 1 – 50% Unsats
Improvement in results, for operators with previous full CRM inspections
Chart: 
| Unsat | Concern | Sat
 | 0.087479 | 0.10292 | 0.80961

## Slide 12
Chart: Percent of Unsats
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i-j)
 | 0.02551 | 0.16327 | 0.14796 | 0.086735 | 0.18367 | 0.030612 | 0.020408 | 0.29592 | 0.045918
(a) General
(b) Roles & Responsibilities
(c) Adequate Information
(d) Fatigue Management
(e) Alarm Management
(f) Change Management
(g) Operating Experience
(h) Training
(i-j) Compliance Validation & Deviations
2020 CRM Inspection Unsats
by Code Subparagraph

## Slide 13
2020 CRM Inspection Unsats
by Code Subparagraph
(a) General
(b) Roles & Responsibilities
(c) Adequate Information
(d) Fatigue Management
(e) Alarm Management
(f) Change Management
(g) Operating Experience
(h) Training
(i-j) Compliance Validation & Deviations
Chart: Percent of Unsats
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i-j)
HL | 0.019868 | 0.1457 | 0.15894 | 0.066225 | 0.17219 | 0.033113 | 0.013245 | 0.3245 | 0.066225
Gas | 0.046512 | 0.16279 | 0.18605 | 0.11628 | 0.18605 | 0.023256 | 0.069767 | 0.2093 | 0

## Slide 14: Most Frequent Code Citations of
Gas
Haz. Liquid
Code Citation | % of Total Unsats
195.446(h) - Training | 32%
195.446(e) – Alarm Management | 17%
195.446(c) – Adequate Info. | 16%
195.446(b) – Roles & Responsibilities | 15%
195.446(j) – Compliance Validation & Deviations | 7%
195.446(d) - Fatigue Management | 7%
Code Citation | % of Total Unsats
192.631(h) - Training | 21%
192.631(e) – Alarm Management | 19%
192.631(c) – Adequate Info. | 19%
192.631(b) – Roles & Responsibilities | 16%
192.631(d) – Fatigue Management | 12%
Most Frequent Subparagraph
CRM Inspection Unsats

## Slide 15
Gas
Liquid
Code Citation | Percent of Unsats
195.446(h)(6) Team Training | 14%
195.446(b)(5) Authority to Direct or Supersede | 9%
195.446(e)(5) Alarm Management Annual Monitoring of Activity | 7%
195.446(c)(2) Point-to-Point Verification | 7%
195.446(j)(2) Documentation of Deviations | 6%
Code Citation | Percent of Unsats
192.631(h)(6) Team Training | 11%
192.631(c)(2) Point-to-Point Verification | 11%
192.631(b)(5) Authority To Direct or Supersede | 9%
192.631(e)(4) Alarm Management Annual Review | 9%
192.631(e)(2) Alarm Mgt Monthly Identification of Points Affecting Safety | 9%
Most Frequent Code Citations
CRM Inspection Unsats

## Slide 16
Single Most Cited Subsection
In 2020 CRM Inspections
“Team Training”
  192.631(h)(6) – 11% of Unsats in Natural Gas
  195.446(h)(6) – 14% of Unsats in Haz. Liquids

## Slide 17
Issues | Percent of Unsats
No Records or Documentation | 15%
Insufficient Documentation | 14%
Inadequate Process, but requirements being met in practice | 13%
No process | 11%
Inadequate Implementation | 5%
Not meeting required Intervals | 5%
Most Common Issues for Unsats

## Slide 18
(a) General
(b) Roles & Responsibilities
(c) SCADA
(d) Fatigue Management
(e) Alarm Management
(f) Change Management
(g) Operating Experience
(h) Training
(i-j) Compliance Validation & Deviations
2020 CRM Inspection Unsats
by Code Subparagraph
Chart: Percent of Unsats
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i-j)
Procedures | 0.044248 | 0.22124 | 0.11504 | 0.044248 | 0.21239 | 0.017699 | 0.026549 | 0.28319 | 0.035398
Records | 0 | 0.05 | 0.2375 | 0.125 | 0.15 | 0.05 | 0.025 | 0.2875 | 0.075

## Slide 19
By Pipeline Type
By Control Room Pipeline Mileage
Chart: Unsats per Inspection
| Unsats: Procedures | Unsats: Records
Gas | 4.5 | 2.6667
Liquid | 7.8182 | 5.8182
Chart: Unsats per Inspection
| Unsats: Procedures | Unsats: Records
Large > 5,000 miles | 3.625 | 2.375
Medium (800-5,000 Miles) | 6.3333 | 5.3333
Small <800 Miles) | 10.8333 | 7.5
Breakdown of Average Unsats per Inspection (2020)

## Slide 20
2021 Inspection Plan
Continue to grow CRM experience in staff
Inspect remaining large Operators
Mix in mid-size and small Operators
For TSA : Continue cyber-hygiene awareness & promote VADR
TSA – Transportation Security Administration of DHS
CISA – Cybersecurity and Infrastructure Security Agency
VADR – Validated Architecture Design Review

## Slide 21
Inspection Progress : Natural Gas
Chart: 
| 2020 | 2021 Plan | Remaining
Natural Gas Control Rooms | 11 | 17 | 72
Chart: 
| 2020 | 2021 Plan | Remaining
Natural Gas CR Mileage | 60 | 28 | 12
12%
72%

## Slide 22
Inspection Progress : Haz. Liquids
Chart: 
| 2020 | 2021 Plan | Remaining
Haz. Liquid Control Rooms | 30 | 20 | 50
Chart: 
| 2020 | 2021 Plan | Remaining
Haz. Liquid CR Mileage | 57 | 23 | 20
50%
20%

## Slide 23
5
2
2
2
2
3
3
3
3
3
2
5
2
2
5
3
5
2
1
2 – 4
5 – 9
10 – 19
20 – 29
Num. of CRs 2020-2021
3
3
4
Alberta
CRM Inspections
Expected Completions 2020 & 2021